## LATEST GMDN CODES
Medical Device Notes in blue are codes that may relate to specific devices without clear wording/interpretation. Notes in Red - new definitions needed from GMDN, some submissions made already. If no code, registered details on a similar device as interim as additional device under same code. | GMDN Code | GMDN definition
Arch Bars | Awaiting | Enquiry Submitted - Ref EQ210307
Bar dental precision attachment | 38577 | A small shaft or splint typically made of austenitic alloys or alloys containing 75 percent or greater gold (Au) and metals of the platinum group, intended for use in prosthetic dentistry in conjunction with removable partial dentures. Various forms of the device are intended to connect a lower partial denture with another lower partial denture, to connect an upper partial denture with another upper partial denture, to connect either an upper or lower partial denture to a tooth or a crown, or to connect a fixed bridge to a partial denture. The device typically includes fixers (e.g., clasps, sleeves, or screws).
Bite registration rim wax | 38602 | A dental material (modelling wax) with or without reinforcing foils (metal, polymer) for registration of jaw relation (making bite rims). This is a single-use device.
Body Contour Prosthesis | None | Added as a separate item on the Facial Prosthesis Code No Codes or details available on searching GMDN Agency database.
Breast prosthesis, external | 35676 | An external device used to replace the female breast typically after a mastectomy. It is made of various materials to simulate the appearance and texture of a breast and is typically fitted into a brassiere.
Burns Splint | Awaiting | Enquiry Submitted - Ref EQ210304
CAD/CAM Software / 3D Models | 50484 | A software program intended to provide computer-aided design (CAD) or computer-aided manufacturing (CAM) functionality for the production of patient-specific custom-made devices (e.g., orthopaedic implants, dental devices, anatomical models), treatment planning, simulation, and/or robotic capabilities for device production (e.g., 3-D printing).
Complete lower denture | 38589 | A custom-made artificial replacement for all teeth in the lower jaw (mandible) carried on a removable plate or frame which is supported by surrounding soft and hard tissues of the oral cavity. It can be made of a variety of materials including polymers [polymethylmethacrylate (PMMA), polycarbonate (PC)], acrylic, ceramics, and/or metals [e.g., base metal alloys or titanium (Ti)].
Complete upper denture | 38588 | A custom-made artificial replacement for all teeth in the upper jaw (maxilla) carried on a removable plate or frame which is supported by surrounding soft and hard tissues of the oral cavity. It can be made of a variety of materials including polymers [polymethylmethacrylate (PMMA), polycarbonate (PC)], acrylic, ceramics, and/or metals [e.g., base metal alloys or titanium (Ti)].
Craniofacial fixation plate, non-bioabsorbable/Custom Plates | 46642 | A small implantable plate/set of plates designed to be attached with screws to craniofacial bone (including the maxilla and/or mandible), to bridge and stabilize a fracture gap or craniotomy flap, and/or cover a burr hole; the material cannot be chemically degraded or absorbed by natural body processes. It is available in a variety of designs (e.g., Y-plate, curved plate, mesh-panel, burr hole cover) and includes implant-grade metal; in addition to the plate(s) bone screws may be included.
Cranioplasty - Cranioplasty plate, non-alterable | 46268 | An implantable shield designed to repair larger skull defects that is preformed before surgery and typically made of sheets of material [e.g., stainless steel, vitallium, titanium (Ti), plastic resins] that cannot be reshaped at the time of surgery without changing the physical or chemical properties of the material. The device is generally preformed with a central convex curvature matching the curvature of the forehead, side, or rear areas of the human adult skull; it is usually fixed to the intact cranial bones using screws and/or other fasteners. The device is used to repair defects due to injury, surgical intervention for tumour removal, congenital anomaly, or disease.
Cranioplasty plate, alterable | 46267 | An implantable shield designed to repair larger skull defects that is preformed before surgery and typically made of sheets of material (e.g., tantalum) that can be reshaped at the time of surgery without changing the physical or chemical properties of the material. The device is generally preformed with a central convex curvature matching the curvature of the forehead, side, or rear areas of the human adult skull; it is usually fixed to the intact cranial bones using screws and/or other fasteners. The device is used to repair defects due to injury, surgical intervention for tumour removal, congenital anomaly, or disease.
Custom Grommets | Awaiting | Need photos to submit
Custom-made cranial bone prosthesis/Titanium Onlay/Silicone Onlay/Custom Plates | 58908 | An implantable device intended to repair a defect of the cranium or mandible that is designed and constructed with specific characteristics (e.g., size, shape, material) as prescribed by a healthcare provider for a specified patient. It is typically manufactured from a three-dimensional (3-D) model based on computed tomography (CT) images and made of plastic [e.g., ultrahigh molecular weight polyethylene (UHMWPE), polyetheretherketone (PEEK)] and/or metal [e.g., titanium (Ti)]. The device may be used to repair defects due to injury, surgical intervention for tumour removal, congenital anomaly, or disease, or for cosmetic/aesthetic purposes
Custom-made cushion | 41571 | A soft pillow or pad that is specially designed for an individual to provide support, comfort, or assist the user to fulfill a functional requirement
Custom-made dental anatomy model | 64556 | A dental device made of gypsum (e.g., plaster, dental stone) intended to be used as a replica (model) of a specific patient’s teeth and gums, to assist with a dental treatment-related procedure (e.g., production of a dental restoration, design of a teeth whitening tray). It is created via casting (i.e., taking the impression of the patient’s teeth/gums, pouring plaster into the impression, and then removing the impression). This is a single-use device.
Custom-made Dental crown, metal | 38591 | A device made totally of metal alloy material, and created for a specific post-pubescent/adult patient (custom-made), that functions as an artificial covering to replace the major part, or the whole part, of the clinical crown of a tooth.
Custom-made Dental crown, metal/ceramic | 38593 | A device made of a combination of metal and tooth-coloured ceramic, and created for a specific post-pubescent/adult patient (custom-made), that functions as an artificial covering to replace the major part, or the whole part, of the clinical crown of a tooth.
Custom-made Dental crown, metal/polymer | 38596 | A device made of metal, veneered with a polymer-based, tooth-coloured material, and created for a specific post-pubescent/adult patient (custom-made), that functions as an artificial covering to replace the major part, or the whole part, of the clinical crown of a tooth.
Custom-made medical device mount | 65120 | A structure intended to be permanently-fixed to the ceiling and/or wall to support/stow a medical device(s) [e.g., light, monitor, surgical instruments] or stow/provide medical supplies. It is designed with specific characteristics as requested by a healthcare professional to meet the requirements of a specific facility. It may incorporate a pole, rack, shelves, electricity supply sockets, gas outlets, and/or enable dynamic positioning (e.g., with dynamic arms, sliding bracket); the device(s) to be mounted is not included.
Custom-made mouthguard | 38620 | A custom-made oral device designed to protect the teeth, bones, and tissues of the mouth from damage due to impact/trauma typically during contact sports, and/or to prevent teeth grinding/clenching (bruxism). It is custom-made for a specified patient from impressions of the dental arch. Some types are referred to as nightguards or bite raising appliances. This is a reusable device.
Custom-made organ/bone anatomy model/3D Models | 62215 | A model of an organ (e.g., heart, kidney, lung) or bone of a specific patient intended to be used to assist anatomical visualization and surgical treatment planning. It is created using additive (three-dimensional [3-D] printing) processes based on patient medical images. It is typically made of a synthetic polymer, marked with a unique identifier, and may be sterilized prior to use in sterile fields.
Custom-made organ/bone anatomy model/surgical guide kit/Cutting Guides | 62249 | A collection of custom-made devices intended to be used to assist anatomical visualization, surgical treatment planning, and intraoperative surgical procedures (e.g., orientation of implant components, guiding of surgical instruments). It consists of an anatomy model(s) of an organ/bone and an orthopaedic/craniomaxillofacial surgical guide(s) [e.g., for osteotomy, arthroplasty]; it is made of synthetic polymer materials and is manufactured by 3-D printing and CAD/CAM techniques to match the patient-specific contours of the target anatomical site. This is a single-use device intended to be sterilized prior to use.
Custom-made orthopaedic/craniofacial surgical guide | 60826 | A custom-made surgical instrument intended to be used in an orthopaedic and/or craniomaxillofacial procedure (e.g., osteotomy, arthroplasty, tumour resection, distraction osteogenesis, cranial vault reconstruction) to assist in the intraoperative orientation of implant components, outlining the desired cut-line, and/or guiding of surgical instruments (e.g., surgical drill, oscillating cutting saw). It is made of synthetic polymer materials and is typically manufactured by 3-D printing and CAD/CAM techniques to match the patient-specific contours of the target anatomical site. This is a single-use device.
Dental appliance fabrication material cured | 16730 | A resin that polymerizes under heat (heat-cured), light (light-cured), and/or after a period of time (self-cured) intended to be used in the dental laboratory to manufacture a patient-worn dental prosthesis or appliance (e.g., denture base, occlusal splint/night guard); it may in addition be intended to fabricate non-patient-worn devices (e.g., drilling templates using 3-D printing). It consists of a reactive component (e.g., acrylic monomer, reactive polymer) that hardens via polymerization [or vulcanization]. Reinforcing fillers may be included in the resin to increase its strength and/or durability. After application, this material cannot be refabricated.
Dental appliance fabrication material, thermoplastic | 58288 | A thermoplastic material intended to be used in the dental laboratory to manufacture a patient-worn dental prosthesis or appliance (e.g., denture/denture base, orthodontic retainer, implant bars, crowns/bridges, occlusal splint, mouthguard); it might in addition be intended to fabricate non-patient worn devices (e.g., dental impression tray). The material [e.g., nylon 12 beads, polyetheretherketone (PEEK) milling blank, thermoplastic sheet] is manipulated [e.g., by melting and moulding, or computer-aided techniques (dental CAD/CAM)] to form the shape needed for the patient. After application, this material cannot be refabricated.
Dental appliance/prosthesis connector | 63963 | A small device in the form of a combination sleeve/screw intended to provide a secure connection between two dental suprastructures, or between a dental suprastructure and the final prosthesis/restoration (e.g., bridge, single tooth, overdenture); it may also be used to provide an anchor point for a tool to temporarily remove a prosthesis/restoration, e.g., for cleaning. It is in the form of a sleeve and screw set where the sleeve is fixed in a pre-drilled hole or glued to the outside of the appliance. This is a single-use device.
Dental base plate | 34808 | A foundation on which an occlusal rim is built or a trial denture set-up. Dental base plates are made of wax, shellac or polymers and formed individually for one patient (custom-made). This is a single-use device.
Dental bone matrix implant, metallic | 48004 | A sterile non-bioabsorbable device made of metal and/or metal oxide [e.g., titanium (Ti)] implanted into the body to provide osteoconductive bone-tissue scaffolds to replace maxillofacial and/or mandibular bone lost through trauma or dental surgery. It is typically used to fill bone cavities and defects to promote the ingrowth of endogenous bone for skeletal reconstruction and/or augmentation. It is typically available as porous granules.
Dental bridge, polymer | 37542 | A custom-made, non-removable, artificial replacement for one or more missing teeth made entirely of polymer-based material, with or without fibre reinforcement, and comprised of an artifical tooth/teeth and crowns. It is fixed to abutment/adjacent teeth, tooth roots, or dental implants. Also referred to as a fixed partial prosthesis or a fixed partial denture.
Dental bridge,metal- polymer | 37543 | A custom-made, non-removable, artificial replacement for one or more missing teeth made of metal alloy with a tooth-coloured polymer material (veneer), and comprised of an artifical tooth/teeth and crowns. It is fixed to abutment/adjacent teeth, tooth roots, or dental implants. Also referred to as a fixed partial prosthesis or a fixed partial denture
Dental CAD/CAM system, laboratory | 34713 | An assembly of software-based devices designed for automated computer-aided design (CAD) and computer-aided manufacturing (CAM) of custom-made (prescribed for one patient) dental restorations and/or orthodontic appliances (archwires) produced in the dental laboratory. It typically includes three-dimensional (3-D) image acquisition capabilities that provide values (measurements) from, e.g., casts, models or chairside in vivo acquisition to acquire the prescription values for the production phase; software for record collection, treatment planning, simulation and device production; and robotic capabilities for production of the actual device(s) for delivery and final fitting to the patient.
Dental implant suprastructure permanent custom-made | 63349 | A custom-made device intended to provide a permanent intermediate fixture level between a dental implant and the final prosthesis/restoration (e.g., bridge, single tooth, overdenture). It includes one or more structural component(s) [e.g., abutment, ball, bar, bar overlay, coping], and may be made of various materials [e.g., titanium (Ti), plastic, gold alloy]; an abutment screw(s) may be included, however the suprastructure does not represent the screw(s) in isolation. It may also be referred to as an abutment assembly or mesostructure and is manufactured for a specific patient.
Dental implantation drilling template custom-made | 63484 | A non-sterile, custom-made device intended to be used by a dental surgeon to guide drilling in the jawbone of a patient during the first stage of a guided dental implantation procedure for dental implant placement/fixation. It is in the form of a shaped plate with predefined hole(s) capable of being used on fully and partially edentulous patients. This is a single-use device.
Dental impression tray single-use | 16350 | A horseshoe-shaped receptacle made of metal or plastic designed to carry dental impression material to the mouth, to confine the material in opposition to the surfaces to be recorded (e.g., teeth and gums), and to control the impression material while it sets to form an impression. The device is used mainly to facilitate the manufacturing of custom dental prostheses (e.g., dentures). This is a single-use device.
Dental occlusal splint custom-made /Soft BRA/Hard BRA/Pressure Formed Trauma Splint | 43025 | A rigid or flexible custom-made device intended to overlay the occlusal surfaces of the teeth to maintain the position of displaced or moveable teeth, to treat teeth clenching and bruxism and their sequelae, and to provide temporary relief from muscle or temporomandibular joint (TMJ) pain (e.g., from TMJ dysfunction). It is typically made of synthetic polymer materials and manufactured to meet the needs of an individual patient. This is a reusable device.
Dental prosthesis bite verification device | 61648 | A device intended to aid in the fabrication of a dental prosthesis (e.g., crown, bridge) by connecting the try-in prosthesis to the laboratory working model and to the patient for the purpose of verifying the fit and appearance of the final prosthesis before production. It is affixed with a dental prosthetic screw or dental prosthetic screw analog (also known as guide pin). This is a single-use device.
Denture clasp, metal, custom-made | 42879 | A dental device made of metal, typically in wire form, intended to retain and stabilize a removable partial denture to stationary teeth. It is manufactured to meet the specifications of an individual patient.
Denture reliner, soft, professional | 17610 | A denture relining material used in dentistry by a dentist or dental laboratory technician that is applied as a permanent coating or lining on the base or tissue-contacting surface of a denture and which sets to a soft, plastic condition. Denture relining is defined as a process of providing a new fitting surface to a denture (ISO 1942-2, def 2.111). After application, this device cannot be reused.
Denture retention spring | 62750 | A non-sterile device intended to stabilize upper and lower dentures in the mouth by applying opposing pressure between the two removable prostheses. It consists of a spring mechanism intended to be permanently attached to both the upper and lower dentures, typically in a dental laboratory; it may include a component(s) to facilitate attachment to the dentures. This is a single-patient, reusable device.
Ear prosthesis | 35262 | A sterile device intended to be implanted to reconstruct the external ear by replacing damaged or missing tissue. It is typically made of a polymer material (e.g., solid silicone rubber).
Earmould custom-made | 41228 | A custom-made device designed to fit in an individual ear, made from an impression of that ear, and through which the acoustic output from a hearing aid is conveyed to the eardrum, or in which transducer components of a hearing aid are aligned. It is made of synthetic polymer materials. This is a reusable device.
External nasal splint | 35411 | A rigid or semi-rigid device intended to be applied externally to the nose for the immobilization of nasal bones and cartilage, typically after a fracture or surgery. It functions as a truss-like support on the outside of the nose. This is a single-use device.
Eye patch | 61490 | A device intended to be used to close/cover one or both eyes, for the purpose of protecting the eye after a procedure or as part of an ophthalmic therapeutic intervention. It is made of a synthetic or biological material. This is a single-use device.
Eyeball prosthesis custom-made /Indwelling eye | 42522 | An artificial substitute for the eyeball, resembling the anterior portion of the eye, made to individual specifications. It is usually constructed of glass or plastic and is intended to be inserted into a patient/user's eye socket anterior to an orbital implant, or the eviscerated eyeball, for cosmetic purposes. This device is not intended to be implanted.
Eyelid weight external | 18142 | An ophthalmic device that is applied to the outside of the upper eyelid to "lidload" the eyelid to restore upper eyelid muscle (musculus orbicularis oculi) function. This device can be used for: 1) the treatment of temporary facial paralysis caused by Bell's palsy, trauma, or a stroke; or 2) to determine the appropriate size of implantable eyelid weights prior to surgery. This device uses gravity to gently close the upper eyelid when blinking or when the eyelid muscle is relaxed, and is made of a heavy material (e.g., tantalum). It is worn just above the eyelashes, adhered to the skin with double-sided adhesive tape, and is coloured in a variety of skin shades (pink, tan, brown, dark brown).
Eyelid weight implantable custom made non-sterile | 18074 | An ophthalmic device that is implanted subcutaneously within the upper eyelid to "lidload" the eyelid to restore upper eyelid muscle (musculus orbicularis oculi) function. This device is used for the treatment of lagophthalmos, a condition that frequently results from facial paralysis caused by Bell's palsy, trauma, a stroke, or as an indirect consequence of the surgical removal of certain types of tumour in close proximity to the facial nerve. This device uses gravity to gently close the upper eyelid when blinking or when the eyelid muscle is relaxed, and is made of a heavy material [e.g., gold (Au), platinum (Pt)].
Facebow | 35700 | A caliper-like dynamic dental instrument intended for use in a dental diagnostic procedure to record the relative position of the mandible to the temporomandibular joints (TMJs) and/or to record the spatial relationship between the maxilla and mandible. This determination is intended for use in placing models of the upper and lower jaws into an articulator and/or in assessing a range of movements in the TMJs. This is a reusable device.
Facial mandibular prosthesis (Adaptation of reconbar) Custom Plates | 16047 | A sterile implantable device intended to be used in the functional reconstruction of non-joint mandibular (lower jaw) deficits. It is made of metal and/or polymeric materials.
Facial prosthesis /Combination Facial Prosthesis | 41568 | An externally-applied device intended to be used as an artificial substitute for parts or sections of the face [e.g., nose, eye(s), eye brows, upper lip] to help restore facial appearance. The device is customized to meet the patient's needs and may be held in position with magnets or screw-like implants embedded into the patient's facial bone. It is used in cases of severe facial disfigurement typically caused by trauma (e.g., gunshot wounds) or major facial cancer surgery.
Finger/thumb prosthesis | 16094 | An artificial substitute for a missing finger or thumb. It is a custom-made device typically made of silicone and detailed with appropriate skin colour, nail, and hair. The device is purely cosmetic and not intended to perform functional movements.
Fluid transfer tube, general-purpose | 63460 | A sterile, flexible, blunt tubular device made of plastic materials designed to be used for the manual transfer of several types of medical fluids (e.g., solutions, syrups) between a first container (e.g., a vial) and a second container [e.g., a syringe]; it is not dedicated to a particular type of fluid or clinical procedure. It is not intended to puncture the seal of a vial/container, nor is it intended for patient contact. This is a single-use device.
Fluoride gel tray | 35701 | A device typically made of styrofoam that is used to apply fluoride topically to the teeth. The device is designed to conform to the human mouth; a patient bites down on the device after it has been filled with a fluoride gel or solution for application.
Implant Guides | Awaiting | Need photos to submit
Implantable craniofacial bone distractor | 47635 | An implantable or partially-implantable device intended to temporarily distract (force apart) the two bone surfaces of the mandible (the lower jawbone) or maxilla (the upper jawbone) during craniomaxillofacial (CMF) distraction. It functions as a single-patient bone lengthening/augmentation device for the correction of congenital deficiencies or post-traumatic defects when gradual bone augmentation is required. It typically consists of a metal tube in which a right- and left-hand threaded rod rotates and to which are attached two craniofacial fixation plates that are surgically screwed to either side of the fracture. A small tip guard may be included to protect against inadvertent rotation.
Jaw exerciser | 17802 | A mechanical exercise apparatus intended primarily to strengthen and rehabilitate the jaw muscles of a patient who has pain in, or disorders of, the temporomandibular joint (TMJ), typically through repetitive biting against resistive forces provided by the device. This is a reusable device.
Keloids | Awaiting | Enquiry Submitted - Ref EQ210306
Mandible-repositioning sleep-disordered breathing orthosis | 47526 | A removable intraoral device designed to alleviate sleep-disordered breathing conditions (e.g., snoring, obstructive sleep apnoea) by repositioning and/or controlling the lower jaw (mandible), typically in a downward and forward position. It works by locking the mandible (e.g., holding the teeth) and preventing it from retruding, thus increasing the patency of the airway and decreasing both air turbulence and airway obstruction. A number of different fixed (non-adjustable) and adjustable types using several techniques and materials are available. This is a reusable device.
Mandible-repositioning/palate-lifting sleep-disordered breathing orthosis | 47527 | A removable intraoral device designed alleviate sleep-disordered breathing conditions (e.g., snoring, obstructive sleep apnoea) by repositioning the lower jaw (mandible), frequently in a downward and forward position, and by elevating the soft palate (soft tissue constituting the back of the roof of the mouth). It works by locking the mandible (e.g., holding the teeth) and preventing it from retruding and by applying pressure to lift a drooping soft palate, thus increasing the patency of the airway and decreasing both air turbulence and airway obstruction. This is a reusable device.
Maxillofacial bone wire/bar (Archbars/IMF) | 44808 | A length of metal (e.g., stainless steel) intended to stabilize bony fragments (fractured bone) in the oral cavity and/or stabilize injured teeth. Stabilization occurs by direct application of the device to the bone/teeth (e.g., by wrapping the ligature around fractured bone segments and locking the ends together). The device may be used for intermaxillary fixation, maxillomandibular fixation, or other forms of jaw immobilization. This is a single-use device.
Moustache/beard prosthesis | 41565 | A device intended to be used as an external artificial substitute for a moustache and/or beard.
Nasal cavity stent removable custom-made | 64162 | A non-sterile tubular device designed to be temporarily placed in the nasal cavity to improve nasal patency, typically in cases of collapse or hyperplasia, and is designed and constructed with specific characteristics (e.g., size, shape) for the particular requirements a specific patient (custom-made). It is a polymer (e.g., silicone, acrylic) device intended to be self-introduced through a nostril; devices associated with insertion and cleaning of the device may be included. This is a reusable device.
Nasal dilator | 11260 | A surgical instrument intended to dilate nasal structures/passages during ear/nose/throat (ENT) procedures. It typically consists of a slender and cylindrical body, hollow or solid, made of metal or plastic and available in a variety of sizes and flexibilities. This is a reusable device.
Nasal Expander | 64162 | Enquiry Submitted - Ref EQ210312
Nasal septal button/Nasoseptal Obturator | 46397 | A device that is implanted to occlude a perforation in the nasal septum. It typically consists of a central post and two flanged ends. The device is inserted into a nostril, one leaf is folded and placed through the septum perforation, grasped through the opposite nostril and secured closing the perforation. It is used to improve nasal respiration.
Neck Prosthesis | Awaiting | Enquiry Submitted - Ref EQ210303
Nipple prosthesis external custom-made | 47336 | An artificial replacement for a female breast nipple that is applied to an external breast prosthesis for a mastectomized woman. It is typically made of rubber-like silicone material with an adhesive backing for attachment to the breast prosthesis and is an off-the-shelf device offered in different colours and sizes. This is a reusable device.
Nose prosthesis external / Nose | 41567 | An externally applied artificial substitute for a missing nose used to restore the appearance of a nose.
Obturator Foams | Awaiting | Need photos to submit
Orbit | Awaiting | Enquiry Submitted - Ref EQ210302
Orbital rim prosthesis/Orbital Floor | 35677 | A sterile implantable ocular device used to reconstruct the floor of the bony cavity that contains the eyeball and its associated muscles, vessels, and nerves, (i.e., the orbital floor and/or rim of the eye socket), and is intended to house an artificial eye. It may be constructed of one of a variety of materials, or a combination, including stainless steel, titanium (Ti), titanium alloy, or flexible mesh alloplastics. It is an aspherical orbital volume replacement prosthesis that will typically have a spongy outer surface (e.g., reinforced with surgical mesh) designed to encourage tissue attachment.
Orthodontic aligner auxiliary attachment kit | 44732 | A collection of devices, used with retainer-style orthodontic appliances (e.g., preformed teeth aligners) to further facilitate and enhance teeth alignment. The kit includes buttons and elastics, typically made of clear materials for aesthetic purposes, that are attached to the orthodontic aligner and/or teeth to help achieve extrusion, rotation and anchorage control. This provides the clinician with greater control to achieve additional tooth movement during the treatment. The contents of this kit may also include plastic/composite adhesive, etchant, elastics, burs and polishing wheels for cutting the aligners. This is a reusable device.
Orthodontic appliance system, bonded | 41678 | An assembly of custom-made and preformed devices such as metal bands, archwires, springs, screws, power arms and/or a base plate (framework), designed to be applied to the teeth to influence the shape and/or function of the stomatognathic system to correct malocclusions (e.g., underbites, overbites, cross bites, open bites, crooked teeth) and/or other cosmetic and/or structural flaws of teeth and/or jaws. Often referred to as dental braces, it is intended to remain in the oral cavity for the duration of the treatment, and may be periodically adjusted by an orthodontist to effect skeletal and/or dental changes. This is a single-use device.
Orthodontic appliance system, self-removable | 65301 | An assembly of custom-made and preformed devices which includes a base plate (framework) and devices such as archwires, clasps, springs and/or screws designed to be worn on the teeth to influence the shape and/or function of the stomatognathic system to correct malocclusions (e.g., underbites, overbites, cross bites, open bites, crooked teeth) and/or other cosmetic and/or structural flaws of teeth and/or jaws. It is not fixed to the oral cavity so that it may be temporarily removed by the patient during the treatment period (e.g., for eating), and may be periodically adjusted by an orthodontist to effect skeletal and/or dental changes. This is a reusable device.
Orthodontic clasp metal wire custom-made | 42374 | A dental device made of metal wire intended to retain and stabilize a removable orthodontic appliance to stationary teeth. It is manufactured, typically chairside, to meet the specifications of an individual patient. This is a single-patient device that is used for the duration of the treatment (single-use) before being discarded.
Orthodontic palate expander | 64769 | An orthodontic device intended to gradually spread the maxillary arch to create space for correct upper teeth alignment. It is typically in the form of a segmented body positioned in the palate cavity with wires extending laterally, ending in teeth-engaging bands. This is a single-patient device that is used for the duration of the treatment (single-use) before being discarded.
Orthodontic retainer | 35310 | An orthodontic appliance, bonded or removable, intended to be used on a single patient to maintain teeth in corrected positions during the period of functional adaptation following corrective treatment. This appliance, also referred to as a positioner, is also used to maintain the positions of the teeth and jaws gained by orthodontic procedures.
Orthodontic space maintainer | 31754 | A dental prosthetic replacement for prematurely lost deciduous teeth intended to prevent closure of the space before eruption of the permanent successors. It is often an urgent necessity in the buccal segment to prevent impaction of the permanent teeth and other complications.
Orthodontic spring | 31797 | A dental device in the shape of a coil intended to be placed around an archwire, a rod, in a bracket, on hooks, pins, and/or between teeth, to apply force (e.g., rotational, uprighting, horizontal) as part of an orthodontic force-producing appliance system. This is a single-patient device that is used for the duration of the treatment (single-use) before being discarded.
Orthognathic surgery intraoperative occlusal positioner / Orthognathic | 64172 | A custom-made (i.e., made to the specifications of a specific patient), synthetic polymer wafer intended to be placed between the occlusal surfaces of a patient’s teeth to maintain the desired position of the patient’s jaw during corrective jaw surgery (orthognathic surgery); it may additionally be used post-surgery as a reference of the corrected-jaw position. It is not intended for orthodontic/dental use. This is a single-use device.
Orthopedic/craniofacial implantation planning software | 46470 | A software program intended to add specific computer-assisted display, processing, and/or analysis capabilities to prepare for the implantation of an orthopaedic and/or craniomaxillofacial (CMF) prosthesis. Using digitized x-rays or imported computed tomography (CT) images, it provides implant-site anatomical images, and using computerized files representing implant patterns, provides the surgeon with images that help determine the appropriate size and placement of the implant.
Osteotomy guide, reusable | 61917 | A surgical instrument intended to be attached to a bone (e.g., pelvis, femur, tibia, ulna) during an osteotomy procedure (including during joint arthroplasty) to outline/define the desired cut-line and mechanically support/guide the cutting device (e.g., oscillating cutting saw). This is a reusable device intended to be sterilized prior to use.
Osteotomy guide, single-use | 65079 | A surgical instrument intended to be attached to a bone (e.g., pelvis, femur, tibia, ulna) during an osteotomy procedure (including during joint arthroplasty) to outline/define the desired cut-line and mechanically support/guide the cutting device (e.g., oscillating cutting saw). This is a single-use device.
Overdenture | 38590 | A custom-made, removable, artificial replacement for some or all teeth in the lower or upper jaw (mandible or maxilla) that is retained in the mouth with precision dental attachments. The attachments can be placed in retained tooth roots or dental implants.
Palate prosthesis (Obturation)/Coverplate | 37942 | An artificial substitute for the hard palate used to reproduce the function of the palate typically in cases of a palatal cleft or fistula, or for palatal augmentation. It will help to improve the patient's speech and eating ability by occluding the defective opening, and in some cases by improving the positioning of their tongue and improving swallowing. Teeth are usually mounted on the device. This is a reusable device.
Partial denture | 17845 | A custom-made, removeable, artificial replacement for one or more, but not all, teeth in the lower or upper jaw (mandible or maxilla) in a partially edentulous patient. It typically includes clasps of metal or plastic that clip onto remaining teeth for retention and stabilization. It can be made of a variety of materials including polymers [polymethylmethacrylate (PMMA), polycarbonate (PC)], acrylic, ceramics, and/or metals [e.g., base metal alloys or titanium (Ti)]. Also known as a removable partial denture (RPD).
Partial-hand prosthesis | 41486 | An artificial substitute for part of a missing hand designed to replace the appearance and/or some of the function of the hand part.
Passive hand prosthesis | 41078 | An artificial substitute for a missing hand that may be attached to a natural arm or used as part of an upper-limb external prosthetic system, and is designed to move only as a result of the direct application of external forces.
Pectoral implant, sterile | 48163 | A sterile implantable device designed for cosmetic augmentation (submuscular implantation) or reconstruction (e.g., to correct injuries/congenital absence) of the pectoral muscle(s). It is a preshaped (e.g., convex/concave oval-shaped) device typically composed of silicone elastomer.
Pressure Therapy/dynamic device - Keloid/CNH Cushions | 47771 | A non-sterile covering/substance made of, or coated with, a synthetic polymer material (e.g., silicone gel, polyurethane) intended to be applied directly to the skin for the management of hypertrophic or keloid scars. The device is typically in the form of a flexible or elastic sheet/film, foam, or gel that occludes the skin to hydrate and reduce/prevent red, dark, or raised scars resulting from surgery, accidents, cuts, burns, or other injuries. The device may be self-adhesive or fixed by tape; devices/accessories associated with application may be included (e.g., massage ball). After application, this device cannot be reused.
Profile Dressings | Awaiting | Need photos to submit
Profile dressings | None | Added as a separate item on the Eye patch Device as no codes or details available on searching GMDN Agency database.
Prosthetic Night Guards | Awaiting | Need photos to submit
Radiotherapy protection spacer | 60424 | A sterile, bioabsorbable material (e.g., liquid or gel) intended to be injected between the prostate and the rectum prior to radiotherapy of the prostate, to increase the distance between the prostate and the anterior rectal wall, thereby reducing exposure of the rectum to radiation. It is typically comprised of hyaluronic acid (HA) and may be available in a prefilled syringe. This is a single-use device.
SALT Prostheses Tracheostoma stoma housing | 62155 | A non-sterile flexible device designed to adhere to the skin around a tracheostoma to function as an anchor for a tracheostomal device (e.g., shower shield, hands-free speech valve). It is made of synthetic polymer and/or metal materials and is available in various forms (e.g., an annular disc with a slightly protruding hollow centre designed to accept the intended device, or a ring on a vertical support); it may include an adhesive backing or be intended to adhere with a separate medical adhesive or tape. This is a reusable device.
SALT Prostheses Tracheostoma stoma occlusion device | None | Added as a separate item on the Tracheostoma Device as no codes or details available on searching GMDN Agency database.
SALT Prostheses Tracheostoma stoma washer | None | Added as a separate item on the Tracheostoma Device as no codes or details available on searching GMDN Agency database.
Scar management dressing, single-use, non-sterile | 47771 | A non-sterile covering/substance made of, or coated with, a synthetic polymer material (e.g., silicone gel, polyurethane) intended to be applied directly to the skin for the management of hypertrophic or keloid scars. The device is typically in the form of a flexible or elastic sheet/film, foam, or gel that occludes the skin to hydrate and reduce/prevent red, dark, or raised scars resulting from surgery, accidents, cuts, burns, or other injuries. The device may be self-adhesive or fixed by tape; devices/accessories associated with application may be included (e.g., massage ball). After application, this device cannot be reused.
Scleral Shell | 34000 | A custom-made prosthesis (a flush-fitting shell) that is used as a cosmetic artificial eye to cover a deformed or disfigured/unsightly blind eye, or over an eviscerated globe. It is made to suit a specific patient/user and will have the cosmetic representation to match the user's contra lateral real eye. It will be worn while the user is in public and normal waking hours. This is reusable device.
Silver Capped Splints | Awaiting | Enquiry Submitted - Ref EQ210308
Sports Mask | Awaiting | Enquiry Submitted - Ref EQ210305
Study Models | 64556 | A dental device made of gypsum (e.g., plaster, dental stone) intended to be used as a replica (model) of a specific patient’s teeth and gums, to assist with a dental treatment-related procedure (e.g., production of a dental restoration, design of a teeth whitening tray). It is created via casting (i.e., taking the impression of the patient’s teeth/gums, pouring plaster into the impression, and then removing the impression). This is a single-use device.
Surgical implant template single-use | 58804 | A device designed to determine the appropriate size and placement of a non-dental implant for a patient prior to or during implantation surgery. It is typically available as a graduated set or an individual plate (e.g., a translucent plastic sheet or a cut metal shape) with patterns/sizes corresponding to the size of the implant to be used to aid the surgeon in final selection of implant size, placement, and/or adaption. It is used for, e.g., total- or partial-joint prostheses, bone fracture fixation implants (plates, nails, including skull plate implants) or other types of surgical implants. This is a single-use device.
Surgical/medical face mask, reusable | 37713 | A flexible, loose-fitting mask designed to be placed over the mouth and/or nose of a healthcare worker to permit normal breathing while protecting the patient and wearer from the transfer of large particles (e.g., blood, body fluids, and airborne particulate materials) during medical procedures and patient examination; it is not a form-shaped filtering device (i.e., not a respirator). It is made of a flexible, porous fabric or paper material and is typically secured using elastic head straps or ties; it may incorporate a forming nosepiece (metal wire) and/or transparent face/eye visor intended to protect the upper face/eyes from debris/fluid. This is a reusable device.
Temporary maxillomandibular fixation set | 48148 | A collection of sterile devices designed to provide temporary maxillomandibular fixation and immobilization. It consists of flexible plastic bands which are wrapped around teeth to form the anchorage points, and interlocking elastic chains attached to the anchorage points like laces on a hiking boot. It is used for the short term fixation of minimally displaced fractures and/or splintage of post jaw dislocation in the maxillofacial area. This is a single-use device.
Tongue-training sleep-disordered breathing orthosis | 62239 | A removable, custom-made, intraoral device intended to improve tongue function/positioning through retraining of the tongue, by prohibiting certain tongue positions, primarily to alleviate sleep-disordered breathing conditions (e.g., snoring, obstructive sleep apnoea). It is intended to fit onto the upper dental arcade and is made from polymer and metal materials manufactured to meet the specifications of an individual patient. This is a single-patient reusable device.
Vacuum mouldable splint | 35358 | A non-sterile device designed to immobilize and protect an injured body part during the healing process. Immobilization is achieved by placing the device around the body part and then withdrawing air from the device. This is a reusable device.
Warm-bonded endodontic obturation system obturator | 47751 | A hand-held manual dental instrument designed for direct warm bonding during an endodontic obturation procedure. It is preloaded (encased) with a resin-based sealing, filling, and core material at its distal working end which is subsequently heated in a dedicated oven to a specified temperature prior to delivery of the materials into a root canal. It is available in a variety of root canal sizes. This is a single-use device.